## Electrical Bid
Electrical Bid Template
Electrical Trade Bid Form
Trade-specific bid for electrical scope. Provide pricing for service, distribution, branch circuits, devices, lighting, and low-voltage rough.
Item | Description | Quantity | Unit | Material | Labor | Total
Service and Distribution
Main Service Entrance | 1200A 277/480V service from utility | 1 | LS | 18500 | 12000 | 30500
Main Switchboard | 1200A MSB with metering and surge protection | 1 | EA | 28500 | 8500 | 37000
Distribution Panels | 225A 277/480V panels with 42 spaces | 4 | EA | 4200 | 1800 | 24000
Step-Down Transformers | 75kVA 480-208/120V K-13 | 2 | EA | 6800 | 2400 | 18400
Branch Wiring and Devices
Lighting Branch Circuits | 20A circuits in EMT with THHN | 32 | EA | 285 | 425 | 22720
Receptacle Branch Circuits | 20A circuits in EMT with THHN | 48 | EA | 220 | 380 | 28800
Receptacles | Spec grade 20A duplex receptacles | 240 | EA | 18 | 35 | 12720
Switches | Spec grade single pole and three way | 86 | EA | 22 | 38 | 5160
Lighting
LED Troffers | 2x4 LED 4000K with dimming driver | 145 | EA | 165 | 95 | 37700
LED Downlights | 6 inch LED 3500K dimmable | 88 | EA | 95 | 65 | 14080
Linear Fixtures | Suspended LED linear with controls | 32 | EA | 380 | 145 | 16800
Lighting Controls | Occupancy sensors and dimming controls | 1 | LS | 8500 | 6500 | 15000
Low Voltage and Special Systems
Fire Alarm | Initiating and notification devices, panel | 1 | LS | 22000 | 14000 | 36000
Data and Telecom Rough | Conduit and pull boxes for low voltage | 1 | LS | 8500 | 12000 | 20500
Equipment Connections | HVAC unit and motor connections | 1 | LS | 6500 | 8500 | 15000
Pricing Summary
Material Subtotal
Labor Subtotal
Subtotal
Bond and Insurance (1.5%)
Overhead and Profit (12%)
Total Electrical Bid
Template by BuildVision AI - buildvisionai.com - Generate this automatically with AI: https://buildvisionai.com

## How To Use
How to use the Electrical Bid Template
1. | Confirm electrical drawings, specifications, and addenda.
2. | Walk the site to assess access, existing conditions, and utility coordination.
3. | Get quotes from your equipment suppliers and lighting agents.
4. | Apply your shop labor rates including burden and benefits.
5. | Add bond, insurance, and your overhead and profit markup.
Template by BuildVision AI - buildvisionai.com - Generate this automatically with AI: https://buildvisionai.com