## HVAC Bid
HVAC Bid Template
Mechanical / HVAC Trade Bid Form
Trade-specific bid for HVAC scope. Include equipment, ductwork, piping, controls, and TAB.
Item | Description | Quantity | Unit | Material | Labor | Total
Equipment
Rooftop Units | 20-ton packaged rooftop with economizer | 2 | EA | 38500 | 6500 | 90000
Variable Air Volume Boxes | VAV with hot water reheat | 28 | EA | 1450 | 685 | 59780
Exhaust Fans | Roof-mount exhaust fans | 6 | EA | 1850 | 685 | 15210
Cabinet Unit Heaters | Hydronic cabinet heaters at vestibules | 4 | EA | 1650 | 485 | 8540
Boiler | Condensing gas boiler 750 MBH | 1 | EA | 18500 | 4500 | 23000
Pumps | Inline base-mounted hot water pumps | 2 | EA | 4200 | 1850 | 12100
Ductwork
Galvanized Supply Ductwork | Spiral and rectangular per drawings | 9800 | LB | 4.2 | 5.5 | 95060
Galvanized Return Ductwork | Rectangular ducts and plenums | 6500 | LB | 4.2 | 5.5 | 63050
Diffusers and Grilles | Linear and louvered face diffusers | 145 | EA | 185 | 95 | 40600
Acoustic Lining and Insulation | Internal liner and external wrap | 1 | LS | 18500 | 22000 | 40500
Hydronic Piping
Hot Water Piping | Type L copper with insulation | 1 | LS | 22000 | 28000 | 50000
Chilled Water Piping (Future) | Stub-out for future expansion | 1 | LS | 4500 | 5500 | 10000
Controls and Commissioning
BAS Controls | BACnet DDC system with graphics | 1 | LS | 32000 | 18000 | 50000
Test, Adjust, Balance | Air and water TAB with reports | 1 | LS | 8500 | 6500 | 15000
Commissioning Support | Cx agent coordination and functional tests | 1 | LS | 4500 | 4500 | 9000
Pricing Summary
Subtotal
Bond and Insurance (1.5%)
Overhead and Profit (12%)
Total HVAC Bid
Template by BuildVision AI - buildvisionai.com - Generate this automatically with AI: https://buildvisionai.com

## How To Use
How to use the HVAC Bid Template
1. | Coordinate the mechanical scope with the engineer of record.
2. | Get equipment quotes with shipping and lead times confirmed.
3. | Apply your sheet metal labor rates per pound shop and field.
4. | Include controls, TAB, and commissioning support.
5. | Add overhead, profit, bond, and insurance.
Template by BuildVision AI - buildvisionai.com - Generate this automatically with AI: https://buildvisionai.com