## Scope of Work
Scope of Work Template
Tenant Fit-Out Scope
Each row defines a deliverable. Mark inclusions and exclusions clearly. The scope of work becomes Exhibit B to the contract.
Section | Scope Item | Detailed Description | Included | Notes
General
General | Project Management | Provide PM, scheduling, daily logs, weekly OAC meetings | Yes | Through final closeout
General | Permits and Inspections | Building permit, MEP permits, all inspections | Yes | Owner pays permit fees
General | Insurance and Bonds | GL, WC, Auto, Builders Risk by Owner | Partial | Builders Risk by Owner
Demolition
Demolition | Selective Demolition | Remove existing partitions, ceilings, flooring, MEP terminations | Yes
Demolition | Hazardous Materials | ACM, lead, mold abatement | No | Owner separate contract
Architectural
Architectural | Metal Stud Partitions | Frame, insulate, drywall both sides per plans | Yes | Level 4 finish
Architectural | Doors and Hardware | Furnish and install per door schedule | Yes | Includes access control prep
Architectural | Acoustic Ceilings | Suspended grid with 2x2 tiles | Yes
Architectural | Flooring | Carpet tile, LVT, polished concrete per plans | Yes
Architectural | Paint | Two coats latex on all walls, semi-gloss in wet areas | Yes
Architectural | Casework and Millwork | Reception desk, pantry cabinets per drawings | Yes
Mechanical, Plumbing, Electrical
Plumbing | Restrooms and Pantry | Fixtures, supply, waste, vent per plumbing drawings | Yes
HVAC | VAV Modifications | Modify existing VAVs, add new ducts and diffusers | Yes | Existing AHU re-used
Electrical | Power Distribution | Add subpanel, branch circuits, devices per plans | Yes
Electrical | Lighting | LED lighting, occupancy sensors, dimming per plans | Yes
Electrical | Low Voltage | Cabling and AV systems | No | Owner separate contract
Closeout
Closeout | Final Cleaning | Construction clean before substantial completion | Yes
Closeout | Closeout Documents | O&M manuals, as-builts, warranties | Yes
Closeout | Furniture | FF&E procurement and installation | No | By Owner vendor
Template by BuildVision AI - buildvisionai.com - Generate this automatically with AI: https://buildvisionai.com

## How To Use
How to use the Scope of Work Template
1. | Walk through the project with the Owner before drafting.
2. | Be explicit about both inclusions and exclusions.
3. | Reference drawings and specifications by date and revision.
4. | Attach this scope as Exhibit B to the contract.
5. | Update with each change order to maintain the master scope.
Template by BuildVision AI - buildvisionai.com - Generate this automatically with AI: https://buildvisionai.com